# Guardian Glass, LLC           														     August 2021

2300 Harmon Road, Auburn Hills, Michigan 48326

Toll Free	(866) 482-7374

# Web Sites	www.guardianglass.com

NOTICE: The guide specification on the following pages is designed to assist architects and specification writers. It is provided as a guideline only. Guardian Glass does not assume any responsibility for the suitability or applicability of this guide specification to any specific building project.

## Guide Specification in CSI 3-Part Format

Specifier Notes:  This guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, contained in the CSI Manual of Practice.

The section must be carefully reviewed and edited by the Architect to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the drawings.

Delete all “Specifier Notes” when editing this section.

## SECTION 088100

## INSULATING GLASS GLAZING

- GENERAL

      - SUMMARY

        - Section includes solar control coated insulating glass units.

        - Related Sections:

          - Division 02-49 Sections specifying glass and glazing by reference to this Section.

          - Division 07 Section "Joint Sealants" for glazing sealants.

          - Division 08 Section "Decorative Glass Glazing" for decorative glass for interior applications.

          - Division 08 Section "Mirrors" for interior, unframed glass mirrors.

          - Division 08 Section "Plastic Glazing" for acrylic and polycarbonate glazing.

          - Division 08 Section "Security Glazing" for security applications.

          - Division 10 Section "Toilet, Bath, and Laundry Accessories" for metal-framed mirrors.

      - REFERENCES

        - ASTM C 1036 - Standard Specification for Flat Glass.

        - ASTM C 1048 - Standard Specification for Heat-Treated Flat Glass--Kind HS, Kind FT Coated and Uncoated Glass.

        - ASTM C 1376 - Standard Specification for Pyrolytic and Vacuum Deposition Coatings on Glass.

        - ASTM E 2188 - Standard Test Method for Insulating Glass Unit Performance.

        - ASTM E 2190 - Standard Specification for Insulating Glass Unit Performance and Evaluation.

        - CPSC 16CFR-1201 - Safety Standard for Architectural Glazing Materials.

        - GANA Glazing Manual.

      - DEFINITIONS

        - Sealed Insulating Glass Unit Surfaces:

          - Surface No. 1:  Exterior surface of outer lite.

          - Surface No. 2:  Interior surface of outer lite.

          - Surface No. 3:  Exterior surface of inner lite.

          - Surface No. 4:  Interior surface of inner lite.

        - Airspace:  Space between lites of an insulating glass unit that contains dehydrated air or other inert specified gas.

      - SUBMITTALS

        - Comply with Division 01 Section "Submittal Procedures."

        - Product Data:  Submit manufacturer's product data, including performance characteristics and installation instructions.

        - Shop Drawings:  Submit manufacturer's or fabricator's shop drawings, including plans, elevations, sections, and details, indicating glass dimensions, tolerances, types, thicknesses, and coatings.

        - Samples:  Submit manufacturer's samples of each type, thickness, and coating.

        - Fabricator's Certification:  Submit fabricator's certification by manufacturer.

        - Cleaning Instructions:  Submit manufacturer's cleaning instructions.

        - Warranty:  Submit manufacturer's standard warranty for sealed insulating glass units.

      - QUALITY ASSURANCE

        - Manufacturer's Qualifications:  Minimum of 5 years experience manufacturing solar control coated glass.

        - Fabricator's Qualifications:

          - Minimum of 5 years experience manufacturing sealed insulating glass units meeting ASTM E 2190, Class CBA.

          - Certified by manufacturer.

        - Mock-Ups:

          - Comply with Division 01 Section "Quality Control."

          - Obtain acceptance of mock-ups by Architect before proceeding with work.

      - DELIVERY, STORAGE, AND HANDLING

        - Delivery:

          - Deliver glass to site in accordance with manufacturer's instructions.

          - Deliver glass in manufacturer's or fabricator's original containers and packaging, with labels clearly identifying product name and manufacturer.

        - Storage:

          - Store glass in accordance with manufacturer's instructions.

          - Store glass in clean, dry area indoors.

          - Protect from exposure to direct sunlight and freezing temperatures.

          - Apply temporary coverings loosely to allow adequate ventilation.

          - Protect from contact with corrosive chemicals.

          - Avoid placement of glass edge on concrete, metal, and other hard objects.

          - Rest glass on clean, cushioned pads at 1/4-points.

        - Handling:

          - Handle glass in accordance with manufacturer's instructions.

          - Protect glass from damage during handling and installation.

          - Do not slide one lite of glass against another.

          - Do not use sharp objects near unprotected glass.

      - WARRANTY

        - Manufacturer's Special Warranty on Insulating Glass:  Manufacturer's standard form in which insulating-glass manufacturer agrees to replace insulating-glass units that deteriorate within specified warranty period.  Deterioration of insulating glass is defined as failure of hermetic seal under normal use that is not attributed to glass breakage or to maintaining and cleaning insulating glass contrary to manufacturer's written instructions.  Evidence of failure is the obstruction of vision by dust, moisture, or film on interior surfaces of glass.

Verify available warranties and warranty periods with manufacturers listed in Part 2 articles.  Note that glass manufacturers typically begin the warranty period at the date of manufacture.  See Evaluations.

          - Warranty Period: [10] <Insert number> years from date of [manufacture].

- PRODUCTS

      - MANUFACTURER

        - Guardian Glass, LLC, 2300 Harmon Road, Auburn Hills, Michigan 48326.  Toll Free (866) 482-7374.  Web Site www.guardianglass.com

        - Substitutions:

          - Not permitted.

      - FABRICATORS

        - Sealed Insulating Glass Units, Heat-Strengthened Glass, Tempered Glass, and Spandrel Glass:

        - Acceptable Fabricators: Certified by glass manufacturer.

      - SOLAR CONTROL INSULATING COATED GLASS

        - Double-Glazed Sputter-Coated Insulating Glass Units:

          - Conformance:  ASTM E 2190.

Specifier Notes:  Specify one of the following glass substrates.

          - Outboard Lite:  Sputter-coated [clear] [Guardian UltraClear®] [green-tinted] [CrystalGray®] [gray-tinted] [CrystalBlue®] float glass.

Specifier Notes:  Specify one of the following two sentences.  Use the first sentence when specifying clear or low-iron float glass.  Use the second sentence when specifying green-tinted, CrystalGray®, gray-tinted or CrystalBlue® float glass.  Not all coatings are available on all substrates – check Guardian Glass product literature for availability. Delete unused sentence.

            - Clear Float Glass:  ASTM C 1036, Type I, Class 1, Quality q3.

            - Tinted Float Glass:  ASTM C 1036, Type I, Class 2, Quality q3.

            - Vacuum Deposition Sputtered Coating:  ASTM C 1376.

Specifier Notes:  Specify the coating on surface No. 2.  Neutral 78/65 is only available on clear and low-iron glass.  Neutral 50, Neutral 40 and Silver 20 are only available on clear and green. Specify edge-deletion of low-E coatings in accordance with manufacturer’s recommendations.

            - Coating on Surface No. 2: [SunGuard AG 43] [SunGuard AG 50] [SunGuard Silver 20] [SunGuard Neutral 40] [SunGuard Neutral 50] [SunGuard SNE 50/25] [SunGuard SNX 51/23] [SunGuard SNX 62/27] [SunGuard SN 68] [SunGuard SN 54] [SunGuard SNR 43] [Neutral 78/65] [none].

Specifier Notes:  Specify the glass thickness.

            - Glass Thickness: [3 mm (1/8 inch)] [4 mm (5/32 inch)] [5 mm (3/16 inch)] [6 mm (1/4 inch)] [8 mm (5/16 inch)].

Specifier Notes:  Specify the method of heat treatment – tinted glass must be heat-treated.  Guardian recommends heat-strengthened where necessary for thermal stress management or other reasons, unless fully tempered glass is specifically required. SNR 43 and SNE 50/25 MUST be heat-treated.

            - Heat Treatment: [None] [Heat-strengthened, ASTM C 1048, Kind HS] [Tempered; ASTM C 1048, Kind FT; CPSC 16CFR-1201].

Specifier Notes:  Specify the air space thickness.

          - Air Space: [6 mm (1/4 inch)] [12 mm (1/2 inch)] wide, hermetically sealed, dehydrated air space.

          - Inboard Lite: [clear] [Guardian UltraClear®] float glass.

            - Clear Float Glass:  ASTM C 1036, Type I, Class 1, Quality q3.

Specifier Notes:  Delete the following sentence if no coating is specified on the No. 3 or No. 4 surface.

            - Vacuum Deposition Sputtered Coating: ASTM C 1376.

Specifier Notes:  Specify the coating on surface No. 3 or No. 4.  Coatings on both surfaces should not be specified.  Review Guardian product literature to ensure manufacturer recommended coating applications and configurations are specified. Specify edge-deletion of low-E coatings in accordance with manufacturer’s recommendations.

            - Coating on No. 3 surface: [SunGuard SNX 62/27] [SunGuard SN 68] [Neutral 78/65] [None].

            - Coating on No. 4 surface: [SunGuard IS 20] [None].

Specifier Notes:  Specify the glass thickness.

            - Glass Thickness: [3 mm (1/8 inch)] [4 mm (5/32 inch)] [5 mm (3/16 inch)] [6 mm (1/4 inch)] [8 mm (5/16 inch)].

Specifier Notes:  Specify the method of heat treatment.  Heat treatment is required if SunGuard IS 20 is specified on the No. 4 surface.  Guardian recommends heat-strengthened where necessary for thermal stress management or other reasons, unless fully tempered glass is specifically required.

            - Heat-Treatment: [None] [Heat-strengthened, ASTM C 1048, Kind HS] [Tempered; ASTM C 1048, Kind FT; CPSC 16CFR-1201].

          - Glass Unit Performance Characteristics:

Specifier Notes:  Fill-in the performance characteristics.

            - Visible Light Transmittance:  ________ percent.

            - Visible Light Reflectance Outdoors:  ________ percent.

            - Direct Solar Energy Transmittance:  ________ percent.

            - Direct Solar Energy Reflectance Outdoors:  ________ percent.

            - Winter U-Value Nighttime:  ________.

            - Summer U-Value Daytime:  ________.

            - Shading Coefficient:  ________.

            - Solar Heat Gain Coefficient:  ________.

            - Summer Relative Heat Gain:  ________.

Retain one sealing system from options in first subparagraph below or insert other combinations; coordinate with manufacturers and products selected.

          - Sealing System: Dual seal, approved by glass manufacturer, with [polyisobutylene and polysulfide] [polyisobutylene and silicone] [polyisobutylene and hot-melt butyl] [polyisobutylene and polyurethane] primary and secondary.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.

            - VOC Content: For sealants used inside of the weatherproofing system, not more than 250 g/L when calculated according to 40 CFR 59, Subpart D.

If retaining a specific spacer material, coordinate with manufacturers and products selected. Modify as required for "warm-edge" technology products

          - Spacer: [Manufacturer's standard spacer material and construction] [Aluminum with mill or clear anodic finish] [Aluminum with black, color anodic finish] [Aluminum with bronze, color anodic finish] [Aluminum with powdered metal paint finish in color selected by Architect] [Galvanized steel] [Stainless steel] [Polypropylene covered stainless steel in color selected by Architect] [Thermally broken aluminum] [Nonmetallic laminate] [Nonmetallic tube] <Insert material>.

Revise subparagraph below if a specific type of desiccant is required.

          - Desiccant: Molecular sieve or silica gel, or blend of both.

Revise subparagraph below if specific types of corner construction are required.

          - Corner Construction: [Manufacturer's standard] [Soldered, welded, or bent; keyed joints and corners are not permitted].

      - SPANDREL INSULATING GLASS

        - Double-Glazed Spandrel Insulating Glass Units:

          - Conformance:  ASTM E 2190.

Specifier Notes:  Specify one of the following glass substrates.

          - Outboard Lite:

Specifier Notes:  Specify one of the following two sentences.  Use the first sentence when specifying clear or low-iron float glass.  Use the second sentence when specifying green-tinted, CrystalGray®, gray-tinted or CrystalBlue® float glass.  Not all coatings are available on all substrates – check Guardian Glass product literature for availability. Delete unused sentence.

            - Clear Float Glass: [clear] [Guardian UltraClear®] ASTM C 1036, Type I, Class 1, 
Quality q3.

            - Tinted Float Glass: [green-tinted] [CrystalGray®] [gray-tinted] [CrystalBlue®] ASTM C 1036, Type I, Class 2, Quality q3.

Specifier Notes:  Specify the coating on surface No. 2.  Neutral 78/65 is only available on clear and low-iron glass.  Neutral 50, Neutral 40 and Silver 20 are only available on clear and green. Specify edge-deletion of low-E coatings in accordance with manufacturer’s recommendations. Delete this sentence if no coating is specified on the #2 surface.

            - Vacuum Deposition Sputtered Coating on Surface No. 2, ASTM C1376: [SunGuard AG 43] [SunGuard AG 50] [SunGuard Silver 20] [SunGuard Neutral 40] [SunGuard Neutral 50] [SunGuard SNE 50/25] [SunGuard SNX 51/23] [SunGuard SNX 62/27] [SunGuard SN 68] [SunGuard SN 54] [SunGuard SNR 43] [Neutral 78/65] [none].

Specifier Notes:  Specify the glass thickness.

            - Glass Thickness: [3 mm (1/8 inch)] [4 mm (5/32 inch)] [5 mm (3/16 inch)] [6 mm (1/4 inch)] [8 mm (5/16 inch)].

Specifier Notes:  Specify the method of heat treatment – tinted glass must be heat-treated.  Guardian recommends heat-strengthened where necessary for thermal stress management or other reasons, unless fully tempered glass is specifically required. SNR 43 and SNE 50/25 MUST be heat-treated.

            - Heat Treatment: [Heat-strengthened, ASTM C 1048, Kind HS] [Tempered; ASTM C 1048, Kind FT; CPSC 16CFR-1201].

Specifier Notes:  Specify the air space thickness.

          - Air Space: [6 mm (1/4 inch)] [12 mm (1/2 inch)] wide, hermetically sealed, dehydrated air space.

          - Inboard Lite:

            - Clear Float Glass: [clear] [Guardian UltraClear®] ASTM C 1036, Type I, Class 1, 
Quality q3.

Specifier Notes:  Specify the Guardian Deco HT coating on surface No. 4.

            - Guardian Deco HT on No. 4 surface: [White] [Warm Gray] [Black].

Specifier Notes:  Specify the glass thickness.

            - Glass Thickness: [3 mm (1/8 inch)] [4 mm (5/32 inch)] [5 mm (3/16 inch)] [6 mm (1/4 inch)] [8 mm (5/16 inch)].

Specifier Notes:  Specify the method of heat treatment.  Guardian recommends heat-strengthened where necessary for thermal stress management or other reasons, unless fully tempered glass is specifically required.

            - Heat-Treatment: [Heat-strengthened, ASTM C 1048, Kind HS] [Tempered; ASTM C 1048, Kind FT; CPSC 16CFR-1201].

Retain one sealing system from options in first subparagraph below or insert other combinations; coordinate with manufacturers and products selected.

          - Sealing System: Dual seal, approved by glass manufacturer, with [fabricator's standard] [polyisobutylene and polysulfide] [polyisobutylene and silicone] [polyisobutylene and hot-melt butyl] [polyisobutylene and polyurethane] primary and secondary.

Retain subparagraph below if low-emitting materials are required for LEED-NC or LEED-CI Credit EQ 4.1.

            - VOC Content: For sealants used inside of the weatherproofing system, not more than 250 g/L when calculated according to 40 CFR 59, Subpart D.

If retaining a specific spacer material, coordinate with manufacturers and products selected. Modify as required for "warm-edge" technology products

          - Spacer: [Manufacturer's standard spacer material and construction] [Aluminum with mill or clear anodic finish] [Aluminum with black, color anodic finish] [Aluminum with bronze, color anodic finish] [Aluminum with powdered metal paint finish in color selected by Architect] [Galvanized steel] [Stainless steel] [Polypropylene covered stainless steel in color selected by Architect] [Thermally broken aluminum] [Nonmetallic laminate] [Nonmetallic tube] <Insert material>.

Revise subparagraph below if a specific type of desiccant is required.

          - Desiccant: Molecular sieve or silica gel, or blend of both.

Revise subparagraph below if a types of corner construction are required.

          - Corner Construction: [Manufacturer’s standard] [Soldered, welded, or bent; keyed joints and corners are not permitted].

- EXECUTION

      - EXAMINATION

        - Examine areas to receive glass.  Notify Architect of conditions that would adversely affect installation.  Do not proceed with installation until unsatisfactory conditions are corrected.

      - PREPARATION

        - Verify glazing openings are correct size and within tolerance.

        - Verify glazing channels, recesses, and weeps are clean and free of obstructions.

      - GLAZING

        - Install glass in accordance with manufacturer's instructions, except where local codes or GANA Glazing Manual indicate more stringent requirements.

      - FIELD QUALITY CONTROL

        - Coated glass, when viewed from minimum of 10 feet, exhibiting slightly different hue or color not apparent in hand samples, will not be cause of rejection of glass units, as determined by Architect.

        - Verify glass is free of chips, cracks, and other inclusions that could inhibit structural or aesthetic integrity.

      - CLEANING

        - Clean glass promptly after installation in accordance with manufacturer's instructions.

        - Remove labels from glass surface.

        - Do not use harsh cleaning materials or methods that would damage glass.

      - PROTECTION

        - Protect installed glass from damage during construction.

        - Protect installed glass from contact with contaminating substances resulting from construction operations.

        - Remove and replace glass that is broken, chipped, cracked, abraded, or damaged in other ways during construction period, including natural causes, accidents, and vandalism.

## END OF SECTION